	Product
	Tri-mode Component Cooler

	Fans
	1/120mm

	Airflow (free air)
	12 CFM

	Noise level
	17 dBA

	Control
	90°F thermal control (optional)

	Dimensions
	11”w x 9”d x 2.5”h

	Dimensions, metric
	279 x 229 x 6.4 mm

	Weight, boxed (lbs/kgm)
	2/1.1 

	ATM part number
	01-008-02


[image: image1.jpg]ACTIVE THERMAL
MANAGEMENT





Specifications Page











