	Product
	Cool-it II

	Fans
	2/120mm

	Airflow (free air)
	20 CFM

	Noise level
	18 dBA

	Control
	90°F thermal control

	Dimensions
	15” x 7.125” x 2.062”

	Dimensions, metric
	400 x 172 x 54 mm

	Weight, boxed (lbs/kgm)
	1.3/.6

	ATM part number
	01-002-02


[image: image1.jpg]ACTIVE THERMAL
MANAGEMENT





Specifications Page











