	Product
	Cool-vent II
	Cool-vent III

	Fans
	4/80mm
	2/120mm

	Airflow (free air)
	30 CFM 
	50 CFM 

	Noise level
	26/dBA 
	24 dBA

	Control
	90°F thermal control
	90°F thermal control

	Power consumption
	6 watts
	8 watts

	Dimensions, face
	5.5” x 15.5”
	7.125” x 15.5”

	Dimensions, rough opening
	4” x 14”
	6” x 14”

	Weight, boxed (lbs/kgm)
	
	

	ATM part number
	00-502-XX
	00-503-XX (Substitute wood codes below for “XX”)


[image: image1.jpg]ACTIVE THERMAL
MANAGEMENT






Wood species: Red Oak (RO), White Oak (WO) Maple (MA), Cherry (CH), Q-sawn White Oak (QO),

White Pine (WP), So. Yellow Pine (YP), Black Walnut (BW), Ash (AS), Poplar (PO), White Birch (WB),

Red Birch (RB), Phil. Mahogany (PM), Sassafras (SA), Cypress (CY), Beech (BE), Cedar (CE), Bamboo

(BA), Purple Heart (PH), Jajoba (JA), Ant. Heart Pine (AP), Hond. Mahogany (HM), Hickory (HI), VG

Fir (VG), Redwood (RW), Teak (TE), and Alder (AL).

Specifications Page











