	Product
	Dual-mode Component Cooler

	Fans
	2/120mm

	Airflow (free air)
	25 CFM

	Noise level
	19 dBA

	Control
	90°F thermal control

	Dimensions
	16w x 14”d x 2.125”h

	Dimensions, metric
	410 x 360 x 54 mm

	Weight, boxed (lbs/kgm)
	6.5/3

	ATM part number
	01-008-01


[image: image1.jpg]ACTIVE THERMAL
MANAGEMENT






Specifications Page











