[image: image1.jpg]ACTIVE THERMAL
MANAGEMENT






	Product
	System 2 Rack-mount

	Fans
	3/120mm

	Airflow (free air)
	45 CFM 

	Noise level
	26 dBA 

	Power consumption
	7 watts

	Control
	Proportional

	Dimensions (in-line)
	5.25”h x 19”w x 2.d

	Dimensions, in-line, metric
	 133 x 483 x 70mm

	Weight, boxed (lbs/kgm)
	1.75/.8

	ATM part number
	00-203-01 


Specifications Page











