	Product
	SEC-1

	Fans
	2/80mm

	Airflow (free air)
	50 CFM  (20 CFM typical installed)

	Noise level
	19 dBA

	Control
	90°F thermal control

	Dimensions
	8.5”l x 4.5”w x 1.75”d 

	Dimensions, metric
	216 x 114 x 45 mm

	Weight, boxed (lbs/kgm)
	1/.5

	ATM part number
	00-401-01


[image: image1.jpg]ACTIVE THERMAL
MANAGEMENT






Specifications Page











